## Quantities
Quantity sheet
Office fit-out, Al Olaya, Riyadh
Drawing A-101, Ground floor layout and reflected ceiling · Rev C · Scale 1:100
Sample takeoff by TakeoffQty, takeoffqty.com. Quantities only: no prices.
Type your own rates in the yellow Rate column and Amount fills in, for example 45 for SAR 45 per m².
Ref | Trade | Description | Unit | Qty | Rate (SAR) | Amount (SAR) | Drawing
Ceilings
C-01 | Ceilings | Gypsum board ceiling, 12.5 mm, painted | m² | 83 |  |  | A-101
C-02 | Ceilings | Mineral fibre tile ceiling, 600 × 600 mm | m² | 66 |  |  | A-101
C-03 | Ceilings | Moisture-resistant gypsum ceiling, painted | m² | 32.5 |  |  | A-101
Partitions
P-01 | Partitions | Gypsum partition, 100 mm, 3.0 m high | m² | 126.15 |  |  | A-101
P-02 | Partitions | Frameless glass partition, 12 mm, 3.0 m high | m | 11 |  |  | A-101
Doors
D-01 | Doors | Single leaf timber door, 900 × 2100 mm | nos | 5 |  |  | A-101
D-02 | Doors | Frameless glass door, 1000 × 2100 mm | nos | 1 |  |  | A-101
D-03 | Doors | Double leaf entrance door, 1800 × 2400 mm | nos | 1 |  |  | A-101
Lighting
E-01 | Lighting | LED panel, 600 × 600 mm, 36 W | nos | 18 |  |  | A-101
E-02 | Lighting | LED downlight, Ø150 mm, 12 W | nos | 22 |  |  | A-101
E-03 | Lighting | LED batten, 1200 mm, IP65 | nos | 2 |  |  | A-101
[5 empty] | Total | 0

## Room breakdown
Room-by-room breakdown
Office fit-out, Al Olaya, Riyadh
Drawing A-101, Ground floor layout and reflected ceiling · Rev C · Scale 1:100
Sample takeoff by TakeoffQty, takeoffqty.com. Quantities only: no prices.
Ref | Description | Location | Sheet | Unit | Qty
C-01 | Gypsum board ceiling, 12.5 mm, painted | Reception | A-101 | m² | 20
C-01 | Gypsum board ceiling, 12.5 mm, painted | Meeting | A-101 | m² | 20
C-01 | Gypsum board ceiling, 12.5 mm, painted | Manager | A-101 | m² | 16
C-01 | Gypsum board ceiling, 12.5 mm, painted | Corridor | A-101 | m² | 27
|  |  | Total C-01 | m² | 83
C-02 | Mineral fibre tile ceiling, 600 × 600 mm | Open office | A-101 | m² | 66
|  |  | Total C-02 | m² | 66
C-03 | Moisture-resistant gypsum ceiling, painted | Pantry | A-101 | m² | 16
C-03 | Moisture-resistant gypsum ceiling, painted | WC | A-101 | m² | 16.5
|  |  | Total C-03 | m² | 32.5
P-01 | Gypsum partition, 100 mm, 3.0 m high | Front rooms to corridor | A-101 | m² | 42.93
P-01 | Gypsum partition, 100 mm, 3.0 m high | Between front rooms | A-101 | m² | 36
P-01 | Gypsum partition, 100 mm, 3.0 m high | WC and store to corridor | A-101 | m² | 14.22
P-01 | Gypsum partition, 100 mm, 3.0 m high | WC and store side walls | A-101 | m² | 33
|  |  | Total P-01 | m² | 126.15
P-02 | Frameless glass partition, 12 mm, 3.0 m high | Open office | A-101 | m | 11
|  |  | Total P-02 | m | 11
D-01 | Single leaf timber door, 900 × 2100 mm | Meeting | A-101 | nos | 1
D-01 | Single leaf timber door, 900 × 2100 mm | Manager | A-101 | nos | 1
D-01 | Single leaf timber door, 900 × 2100 mm | Pantry | A-101 | nos | 1
D-01 | Single leaf timber door, 900 × 2100 mm | WC | A-101 | nos | 1
D-01 | Single leaf timber door, 900 × 2100 mm | Store | A-101 | nos | 1
|  |  | Total D-01 | nos | 5
D-02 | Frameless glass door, 1000 × 2100 mm | Open office | A-101 | nos | 1
|  |  | Total D-02 | nos | 1
D-03 | Double leaf entrance door, 1800 × 2400 mm | Reception | A-101 | nos | 1
|  |  | Total D-03 | nos | 1
E-01 | LED panel, 600 × 600 mm, 36 W | Open office | A-101 | nos | 18
|  |  | Total E-01 | nos | 18
E-02 | LED downlight, Ø150 mm, 12 W | Reception | A-101 | nos | 4
E-02 | LED downlight, Ø150 mm, 12 W | Meeting | A-101 | nos | 4
E-02 | LED downlight, Ø150 mm, 12 W | Manager | A-101 | nos | 4
E-02 | LED downlight, Ø150 mm, 12 W | Corridor | A-101 | nos | 6
E-02 | LED downlight, Ø150 mm, 12 W | Pantry | A-101 | nos | 2
E-02 | LED downlight, Ø150 mm, 12 W | WC | A-101 | nos | 2
|  |  | Total E-02 | nos | 22
E-03 | LED batten, 1200 mm, IP65 | Store | A-101 | nos | 2
|  |  | Total E-03 | nos | 2
Blue figures are measured from the drawings; totals are formulas.

## Notes and queries
Measurement notes and queries
Office fit-out, Al Olaya, Riyadh
Drawing A-101, Ground floor layout and reflected ceiling · Rev C · Scale 1:100
Sample takeoff by TakeoffQty, takeoffqty.com. Quantities only: no prices.
Measurement notes
1 | Areas and lengths measured to wall centrelines.
2 | Partition height taken as 3.0 m, finished floor to underside of slab (section A-301).
3 | Door openings deducted from partition areas. Openings without doors are not measured.
4 | Ceiling areas are not reduced for light fittings, diffusers or access panels.
5 | Store has an exposed soffit and no ceiling is measured.
Queries for you
1 | Pantry ceiling type is not on the finish schedule. Measured as moisture-resistant gypsum to match the WC. Please confirm.
2 | Glass partition head detail is missing. Measured full height to 3.0 m.